
[image: image35.jpg]



Enteral Feeding Policy for Children and Young People 
	Version number :
	1.0

	Consultation Groups 
	Nurse Development Steering Group; Specialist Children and Young People’s Service- Clinical Governance Group. The Coburn Centre for Adolescent Mental Health

	Approved by (Sponsor Group)
	SCYPS

	Ratified by:
	Specialist Children and Young People Service- Clinical Governance Group.

	Date ratified:
	July 2022

	Name of originator/author:
	Bianca Gardiner – Practice Development Facilitator.

	Executive Director lead :
	Ruth Bradley

	Implementation Date :
	July 2022

	Last Review Date 
	N/A

	Next Review date:
	July 2025


	Services 
	Applicable 

	Trust wide
	· 

	Mental Health and LD 
	· 

	Community Health Services 
	· 


Version Control Summary

	Version


	Date
	Author
	Status
	Comment 

	1.0
	May 2022
	Practice Development Facilitator (BG)

	New policy drafted
	Nasogastric tube feeding policy due to be reviewed and there is no current policy for all enteral feeding devices. Therefore both combined into one policy.


Contents
	Paragraph
	
	Page

	1
	Introduction
	5

	2
	Purpose
	5

	3
	Definitions
	5

	4
	Roles, Responsibilities and Referral Criteria
	7

	5
	Indications for enteral feeding
	9

	6
	Risk assessment
	9

	7
	Infection control
	10

	8
	Enteral Feeding Devices
	11

	8.1
	Enfit
	11

	8.2
	Nasogastric Tubes
	11

	8.3
	Measuring the nasogastric tube insertion length
	12

	8.4
	Confirming the position of the nasogastric tube
	12

	8.5
	Securing the nasogastric tube
	13

	8.6
	Documentation post nasogastric tube insertion
	14

	8.7
	X-Ray
	14

	8.8
	Continuous overnight feeds via nasogastric tube
	15

	9
	Nasojejunal Tubes (NJT)
	15

	10
	Gastrostomy devices
	15

	10.1
	Percutaneous Endoscopic Gastrostomy (PEG)
	16

	10.2
	Balloon Gastrostomy
	18

	10.3
	Other Gastrostomy Tubes
	19

	11
	Gastrostomy/Jejunostomy devices
	20

	11.1
	Percutaneous Endoscopic Gastrostomy - Jejunostomy (PEG-J)
	20

	11.2
	Trans-gastric Jejunal Tubes
	21

	11.3
	Jejunostomy Tubes
	22

	12
	Syringes for Enteral Feeding
	22

	12.1
	Reusable Syringes
	22

	12.2
	Cleaning Reusable Syringes
	23

	12.3
	Single Use Syringes
	23

	12.4
	Ordering Syringes from Enabled Living
	23

	13
	Emergency EN-Plugs
	24

	14
	Methods of Feed Delivery
	25

	14.1
	Pump feeding
	25

	14.2
	Giving Sets
	27

	14.3
	Bolus Feeding
	28

	14.4
	Gravity Feeding
	28

	15
	Water Flushes
	28

	16
	Types of Feed
	29

	16.1
	Sterile Commercial Feed
	29

	16.2
	Decanted Sterile Feeds 
	29

	16.3
	Powdered Feeds/Non-Sterile Feeds
	29

	16.4
	Blended Diet
	29

	17
	Troubleshooting
	30

	17.1
	Troubleshooting a Blocked Gastrostomy Tube
	30

	17.2
	Troubleshooting a Jejuna Tube   
	30

	17.3
	Overgranulation
	31

	17.4
	Leaking Stoma  
	32

	17.5
	Diarrhoea
	32

	17.6
	Nausea or Vomiting
	33

	17.7
	Constipation
	33

	17.8
	Buried Bumper
	33

	18
	Training for parents/carers, staff and schools
	33

	19
	Transition to Adult Services
	35

	20
	Audit
	35

	
	References
	37

	Appendices
	
	

	Appendix 1
	Discharge checklist
	

	Appendix 2
	Risk Assessment for Continuous Overnight Nasogastric Tube Feeding
	

	Appendix 3
	Feed Pump Risk Assessment Tool
	

	Appendix 4
	Initial assessment tool for blended diets
	

	Appendix 5
	Ordering codes for nasogastric tubes
	

	Appendix 6
	Decision tree for nasogastric tube placement in children and infants
	

	Appendix 7
	Procedures for commencing a nasogastric tube feed
	

	Appendix 8
	Nasogastric Tube Position Confirmation Record
	

	Appendix 9
	Nasogastric Tube Position Confirmation Record 
	

	Appendix 10
	Urgent jejunal tube pathway for Naso-Jejunal Tubes
	

	Appendix 11
	FREKA Gastrostomy manufacturer guidelines
	

	Appendix 12
	CORFLO Gastrostomy manufacturer guidelines
	

	Appendix 13
	Introducer User Guidelines
	

	Appendix 14
	Salt Treatment Guidelines
	

	Appendix 15
	Urgent Jejunal Tube Pathway for MIC KEY GJ Tubes
	

	Appendix 16
	Urgent Jejunal Tube Pathway for Freka Jejunal Tubes
	

	Appendix 17
	Enteral Feeding Workbook
	

	Appendix 18
	Nasogastric Tube Feeding Workbook
	

	Appendix 19
	Competency for Enteral Tube Feeding
	

	Appendix 20
	Passing the Nasogastric Tube Competency
	

	Appendix 21
	Nasogastric Tube Feeding Competency
	

	Appendix 22
	Practical Assessment Sheet
	


1.  
Introduction

Enteral feeding means using the gastrointestinal tract for delivery of nutrients. Enteral nutrition can be delivered directly into the stomach or jejunum using one of the following routes: ororgastric, nasogastric, nasojejunal, gastrostomy and jejunostomy (Macqueen, Bruce and Gibson, 2012). 
There are a significant number of children and young people who reside in the London borough of Newham who require enteral feeding, either on a short term or a more permanent basis. 

This policy has been developed in consultation with stakeholders including Children’s community nurses, Special school nurses, Community Paediatric Nutrition Support Dietitian/ HETF Team Lead and Gastroenterology nurse specialist. 
2. Purpose
The purpose of this policy is to provide clinical information to staff in order to support children, young people and their families to deliver safe nutrition via enteral devices in the community setting. This policy applies to all staff within East London Foundation Trust caring for children and young people with enteral feeding tubes and working with the London borough of Newham. 
This policy and its procedures can be adapted for use with adult clients who have enteral devices and are under services within East London Foundation Trust.
Implementation of this policy will ensure that children, young people:
· Receive safe management of their enteral feeding device 
· Receive safe nutrition under the care of a specialist home enteral feeding dietician
· Receive the correct equipment and guidance to manage their enteral feeding device in the community
3. Definitions 

	Name and abbreviation
	Definition 



	Enteral feeding
	A method of supplying nutrients directly into the gastrointestinal tract

	Gastrostomy 
	a tube inserted through the abdomen that delivers nutrition directly to the stomach

	Jejunostomy 
	A tube inserted through the abdomen that delivers nutrition directly to the jejunum.

	Balloon Gastrostomy
	Low profile feeding device passing through the abdominal wall, through which enteral feed, fluid and liquid medication is administered into the stomach via a port accessed adjacent to the abdomen. Held in place by a balloon.

	Percutaneous endoscopic gastrostomy (PEG)
	Feeding tube passing through the abdominal wall, through which enteral feed, fluid and liquid medication is administered into the stomach via a port accessed at the distal end of the tubing

	Percutaneous endoscopic gastrostomy-jejunostomy (PEG- J)
	Feeding tube passed into the stomach through the abdominal wall, advanced through the pylorus to lie within the proximal jejunum to provide nutritional support

	Nasogastric tube (NGT)
	Feeding tube passing through the nostril, nasopharynx and oesophagus to the stomach, through which enteral feed, fluid and liquid medication is administered via a port accessed at the distal end of the tubing

	Nasojejunal tube (NJT)
	tube passed from the nose into the jejunum to provide nutritional support

	Bolus feed
	Intermittent administration of a designated quantity of enteral feed

	Pump feed
	Administration of enteral feed using an enteral feed pump to control the rate of feeding

	Feeding Regime/Plan
	An agreed plan often indicating the type, volume and speed of the feed or blended food given via a feeding tube. Typically produced and agreed between parents and dietitian.

	Health Care Plan
	Document prepared by Nursing Teams detailing care when the child is outside of the home under the care of a third party (i.e school or nursery)

	Blended diet (BD)
	Household food blended to a consistency whereby it can be administered via an enteral feeding device  

	Prescribed enteral feed
	Commercially prepared formula of a nutritionally complete nature if sufficient volume is received available on prescription.

	Anthropometry
	Measurements of the body, usually for comparison with standards or to measure individual change over time


Diagram showing routes for enteral feeding 

[image: image2.emf]Oro-Gastric Tube –

inserted via mouth, 

through 

oesophagus, end of 

tube is within the 

stomach

Naso-Jejunal Tube –

nose 

through oesophagus & 

stomach, end of tube is 

within the Jejunum

Naso-Gastric Tube –

nose 

through oesophagus, end of 

tube is within the stomach.

Gastrostomy Tube

– tube

inserted into the stomach 

(surgical/radiological))

Jejunostomy via a Gastrostomy 

Tube –

Inserted via the 

stomach into the Jejunum 

(surgical/radiological)

Jejunostomy Tube –

inserted 

into the Jejunum (surgically)

Oro-Gastric Tube –

inserted via mouth, 

through 

oesophagus, end of 

tube is within the 

stomach

Naso-Jejunal Tube –

nose 

through oesophagus & 

stomach, end of tube is 

within the Jejunum

Naso-Gastric Tube –

nose 

through oesophagus, end of 

tube is within the stomach.

Gastrostomy Tube

– tube

inserted into the stomach 

(surgical/radiological))

Jejunostomy via a Gastrostomy 

Tube –

Inserted via the 

stomach into the Jejunum 

(surgical/radiological)

Jejunostomy Tube –

inserted 

into the Jejunum (surgically)


4. Roles, Responsibilities and Referral Criteria 

Registered nurses and nurse associates are permitted to insert nasogastric tubes and balloon gastrostomy devices once they have been assessed as competent and successfully achieved the relevant the competency document. These competencies can be assessed and signed by a registered nurse or nurse associate who has already achieved the competency document. Trainee nurses/nurse associates and student nurses must only insert the nasogastric tube and balloon gastrostomy device under direct supervision of a registered nurse or nurse associate who has achieved the competency. All other enteral feeding devices must be inserted by the appropriate professional within the hospital setting
Children’s Community Nursing Service (including community nurses and special school nurses)

· Receive referrals for children and young people 0-18 with an enteral feeding tube

· Ensure they have received adequate training to support children with enteral feeding devices, with awareness of risks and emergency procedures

· Ensure correct equipment is available for patient on discharge from hospital to home

· Provide training to enable the child/family to manage their enteral feeding device safely at home

· Management of supplies to be delivered directly to the family home on a regular basis

· Holistic reviews every 6 months minimum and assess quantity of supplies regularly.
· Provide care plans and training for school staff to ensure nutritional requirements are met safely during school hours.
Home enteral feeding Dietitian

· Assessing the nutritional status and calculating the nutritional requirements for all patients who commence enteral feeding 

· Recommending a suitable feed and feeding regimen for the patient 

· Reviewing patients as clinically required 

· Reviewing all patients at least every 6 months 

· Registering the patient with Fresenius Kabi homecare service and ordering feed and equipment 

· Ensuring correct equipment is available for patient on discharge from hospital to home
Referral criteria:
Referrals should be made for infants, children and young people (0 – 18 years) with medical conditions requiring nutritional support due to faltering growth defined as:

· Children under two years of age
-Weight crossing down two or more centiles from the age of 6 weeks.

· Children over two years of age
-Weight consistently below two or more centiles for expected weight per height (for four months or more)

· All children under 0.4th centile for weight.

· All children with a BMI under 2nd centile

Verbal referrals can be made first if guidance is needed or if registration to a feed company is required and followed up with the written referral within 24 hours.

Speech and Language Therapist- Eating, Drinking and Swallowing

· Assessing children and young people with feeding and swallowing difficulties

· Recommending safe routes for feeding
Referral criteria: 

All children and young people 0-18 years who meet one or more of the criteria must be referred to the Speech and Language Therapist:

· Signs of difficulty when eating/drinking e.g. coughing / gagging/ flushed cheeks/watery eyes

· Repeated chest infections

· Faltering growth/ failure to thrive

· Oro-motor difficulties impacting on chewing/ manipulating food in the mouth

· Requires textures to be altered

· Changes in feeding skills

· Difficulty sucking e.g. breast/bottle feeding

General Practitioner

· Prescribing medications in a form suitable to be administered via an enteral tube 

· Prescribing milk requests from the dietitian
· Monitoring blood tests if required
Community Eating Disorder Service

A specialist service providing multi-professional support for young people up to the age of 18 who are experiencing an eating disorder

Referral criteria: 

Children and young people must be referred to this service if there are concerns about an eating disorder.
Fresenius Kabi Homecare service

· Providing initial training for the feed pump before the child or young person is discharged from hospital

· Supplying the feed pump and giving sets once requested by the dietitian

· Annual service of the feed pump
· Troubleshooting problems related to the feed pump
Enabled Living Health Care Limited

Stock equipment required for enteral feeding (including syringes, tubes, pH strips and extension sets). They do not supply the feed pump or any related giving sets. Nurses are responsible for placing the order online via the Equipment Loan Management Service (ELMS) website.

5. Indications for Enteral Feeding
Enteral feeding is required when a child or young person is unable to meet their nutritional requirements orally, and they have a functional, though not necessarily normal, gastrointestinal tract.  Enteral feeding is indicated when oral intake is insufficient or unsafe and it ensures the child and young person is able to receive adequate nutrition and hydration to enable them to maintain their growth and development (Spalding and McKeever, 1998).
Enteral feeding may be indicated when the child or young person has:
	Indication
	Example

	An unsafe swallow
	Uncoordinated swallow due to neurological condition, neuromuscular weakness.

	Absence of effective swallow
	Due to prematurity

	Congenital abnormalities
	Cleft Lip and Palate, Oesophageal Artesia, Oesophageal Stenosis, tracheo-osophageal fistula.

	Not meeting their nutritional requirements
	Unable to take adequate amounts via mouth due to health condition, treatment or unknown cause (poor oral intake, faltering growth, oncology, congenital heart disease, short gut Syndrome)

	Increased nutritional requirements
	Cystic Fibrosis

	Treatment or medications which are not tolerated orally
	Crohn’s disease/ulcerative colitis/metabolic disorders.

	Psychological problems
	Eating disorders.




[image: image1.png]INHS

East London
NHS Foundation Trust




Enteral feeding can take place via numerous routes along the gastrointestinal tract. 
The route chosen is dependent on the following factors:
· Assessment of the child or young person

· Assessment of their gastrointestinal tract function

· Planned duration of the enteral feeding tube

· Ease of tube placement 

· Families’ ability to manage the feeding tube, feeding and care and maintenance.

6. Risk Assessment 


The decision to commence enteral feeding is made by the multidisciplinary team if the child or young person is already within the hospital setting or Coburn Unit. A referral should be received by Community Children’s Nursing Service, Home Enteral Feeding Dietitian and other appropriate services specified above prior to discharge, to ensure smooth and supportive transition from acute to community. 
Each service caring for a child or young person with an enteral feeding tube is responsible for carrying out a risk assessment to ensure safe feeding. Within the acute setting and Coburn unit, this responsibility lies with the multidisciplinary team. Community Children’s Nursing Service should enquire about individual risks when triaging referrals and during discharge planning meetings (ensuring the discharge checklist in Appendix 1 is completed).  Community Children’s Nursing Service must then complete a risk assessment as part of their initial assessment documentation once the child or young person is discharged. This must include receipt of a signed enteral feeding competency to confirm the parent or carer has received full training.
The decision to commence enteral feeding within the community setting, East London NHS Foundation Trust, is a multidisciplinary team decision made by the community Dietitian, community Paediatrician and speech and language therapists involved in the child or young person’s care. 

A detailed assessment of the child and young person must be undertaken to identify whether enteral feeding is appropriate for them and the rationale clearly documented within their electronic notes. 
The following risk assessment templates are available within the appendices and must be completed based on the individual need to the child or young person:
· Appendix 2: Risk Assessment for Continuous Overnight Nasogastric Tube Feeding
· Appendix 3: Feed pump risk assessment 

· Appendix 4: Initial assessment tool for blended diets (for dietitian use only)
7. Infection Control
There are potential hazards associated with enteral feeding which can make it a source for the growth of micro-organisms. Liquid nutrients provide an ideal medium for bacteria and can cause cross contamination to the feeding system during setting up and handling the equipment. Staff must not handle enteral feeds if they have skin infections, diarrhoea or vomiting and must seek medical advice in such situations.

Before any care is given to a child or young person with an enteral feeding tube; the use of liquid soap and water must be undertaken to ensure hands are decontaminated, using the correct hand hygiene technique. This must also be undertaken after the care has been completed (NICE, 2003; DoH, 2010;). This is classed as the first line method of hand hygiene.

The use of alcohol-based hand rubs or gels should be used where it is not possible to wash hands with liquid soap and water. Alcohol is not effective against some microorganisms (Clostridium Difficile) and will not remove dirt or organic material from hands so should only be used on visibly clean hands.

For effective hand washing to take place, all wrist and ideally hand jewellery must be removed before the hand hygiene technique is commenced. Cuts and abrasions must be covered with waterproof dressings and fingernails kept short, clean and free from nail polish (NICE, 2003).

Gloves and aprons must always be worn by professionals dealing with enteral feeding devices. These must be applied before setting up any feeds, water or medication (NPCT, 2009; DoH, 2010) and a non-touch technique used when preparing and connecting/disconnecting feeds, medications or water to the child or young person to reduce the risk of infection. Parents are not expected to wear personal protective equipment but must be observed and advised regards hand washing, infection control and use of non-touch technique when preparing feeds and accessing the enteral feeding device.

8. Enteral Feeding Devices
Enteral devices are classed as medical devices and healthcare professionals have a responsibility to know how to care for them and to ensure they are only used as intended by the manufacturer. This information must be passed onto families and carers.
Modifications must not be made to any enteral feeding device without first checking with the

manufacturer. Any person modifying a tube without authorisation assumes full responsibility

for their actions.

Symbols appearing on medical devices and/or their packaging must be adhered to, for

example devices designated for “singe use” as shown by this symbol must not be reused
and must be discarded immediately after use (MHRA, 2006).
        [image: image3.jpg]



8.1
ENFIT

The International Organization for Standardization (ISO) developed a new standard for enteral feeding devices manufactured to the code ISO 80369, also known as ENFIT. ENFIT products have been designed to reduce misconnections between unrelated delivery systems (e.g. vascular devices), improve safety and standardise the connection between all enteral devices globally (ISO, 2016; ECRI Institute 2017). All enteral feeding devices stocked at Enabled Living Healthcare Limited are ENFIT compliant.
8.2
Nasogastric Tubes 
Nasogastric feeding is the most commonly used route and is suitable for short term feeding. The nasogastric tube (NGT) is inserted through the nose, down the oesophagus until the tip is in the stomach. NGT’s are used for administering feed, medication, venting or drainage of stomach contents. Staff, parents and carers involved in passing the nasogastric tube and feeding via nasogastric tube must be assessed as competent before they carry out any direct care for the child or young person.

[image: image4.emf]
Nasogastric tubes come in many different lengths (cm), widths (French/Fr) and material, made by different companies. All nasogastric tubes stocked at Enabled Living Healthcare Limited are radio-opaque in length with external markings and designed for enteral usage to comply with the NPSA alert (2011).

The following brands are available:
· Medicina

· Enteral
· Nutricare Infant
· EntralTM
· CORFLO© 
Please see the manufacturer’s guide for the duration for use for each tube; this will range from 30-90 days. For further information about types of nasogastric tubes along with ordering codes, see appendix 5.
8.3 
Measuring the nasogastric tube insertion length
The minimum length for nasogastric tube insertion is determined by the nose, ear, xiphisternum (NEX) measurement (NPSA, 2011). However, a study found the NEX measurement is too short as it reaches the gastroesophageal junction only (Taylor et al., 2014). Therefore, a more accurate measurement is from the tip of the nostril, to the base of the ear lobe then halfway between the xiphisternum and belly button (see picture below). This must be performed each time the nasogastric tube is inserted. The NEX length must also be documented in the child’s electronic notes after insertion.
[image: image5.png]Moasurements on an infant

Moasurements on an older child

Sally button





(akhpub.aboutkidshealth.ca, 2017)
8.4
Confirming the position of the nasogastric tube
To safely check a nasogastric tube is in the correct position within the child or young person’s stomach; the nasogastric tube must be aspirated and fluid tested on pH paper. PH indicator paper must be CE marked and intended by the manufacturer to test human gastric aspirate (MHRA, 2010 and DOH, 2000). The level of aspirate must record less than or equal to 5.5 (≤ 5.5) to identify the tube is within the stomach and not within the bronchus or small bowel which would test pH 7-9 (NPSA, 2005; NHS Improvement, 2016). Check the position of the tube following insertion and before any water, feed or medication is given. Aspirate 0.5mls (neonate) or 1ml (child/young person) of stomach contents using a 20ml syringe and place fluid on a pH strip. Wait for up to 1 minute and then read the pH strip matching the colour to the pH number. A pH of 5.5 or less must be obtained before the tube can be used. If the pH is more than 5.5, do not put anything down the tube; follow guidance in Appendix 6 (Decision tree for nasogastric tube placement in children and infants). 

                    [image: image6.jpg]— bl b=\ P
A < .

e S S

PH Indicator Strips
PHO- 6.0
103.3CE

pH test strips for the semi-quantitative visual determination

of pH in human gastric tube aspirate for the assessment of
correct tube placement.

For professional use only

100 strips

TEST PAPERS




 
NHS supply code: FWM3043

Enabled Living Healthcare code: F013

If the patient is on a PPI – proton pump inhibitor (e.g. lansoprazole) or antacid this could affect regular pH readings. It is important to document readings and if a high reading is usual for that patient. 

8.5
Securing the nasogastric tube
Secure the tube to the patient’s cheek using a suitable fixation, ensuring the external markings of the nasogastric tube are visible. Typically, DuoDerm extra thin is placed on the cheek and Tegaderm film is placed on top to secure the nasogastric tube. Use alternative dressings if these cause redness or irritation. 
            [image: image7.jpg]Exzra Thin

7.5cm x 7.5cm

Hydrocolloid Dressing

For use on postsurgal waunds, gy el
raumatic wounds and supericl”

s



     [image: image8.jpg]



For procedures on commencing a nasogastric tube feed, see appendix 7
8.6
Documentation post nasogastric tube insertion

It is the responsibility of the professional who inserted the nasogastric tube to document the following:
· Date and time inserted

· Which nostril the tube was inserted (i.e. left or right nostril)

· Type and size of tube inserted

· NEX measurement

· Measurement in cm at the nostril (e.g. 35cm)
· pH of aspirate obtained

· That it is safe/not safe to feed
· Any additional comments, e.g. how well the patient tolerated the procedure, difficulties in insertion, steps taken to obtain an aspirate, etc.
Metheny et al (1990), (1997), (1998), (1999); Metheny, Smith and Stewart (2000); Burns, Carpenter and Truwit (2001); Metheny and Titler (2001) and Hana (2010)
Staff working within East London Foundation Trust can either document the above with the child’s electronic notes or use the nasogastric tube placement checklist in Appendix 8.

Within the school setting, School staff must complete the confirmation checklist in Appendix 9. 

8.7
X-ray 
PH testing must be used as the first line method for confirming the position of the nasogastric tube. An x-ray should only be used when no aspirate can be obtained or pH indicator strips have failed to confirm the location of the nasogastric tube. The child or young person will need to be referred to the local hospital’s accident and emergency department for an x-ray. Nursing staff within East London Foundation Trust are not expected to be trained in x-ray interpretation. 

When the child or young person is fed continuously, treated with acid-reducing medication and when medications are frequently given down nasogastric tubes, it may not always be possible to obtain aspirate with a pH between 1 - 5.5 and daily x-rays are not practical or safe (NPSA, 2011). In these circumstances where the initial placement was appropriately confirmed and there is no reason to suspect displacement since (no vomiting, retching, coughing spasms and no unexplained respiratory symptoms) the only practical method of determining if the tube remains correctly placed prior to each medications or feed may be through the external observation of the tube. It must be agreed by the health professional involved with the specific child’s care and family that as long as the external length of the tube remains the same as the initial placement length, the facial tapes are secure and have not moved and there is no indication the tube has displaced; the external length of the tube can be used as the indicator for correct tube placement. The tube length must be documented on a daily basis and prior to any medication, water or feed being administered. This is only in exceptional circumstances and should not be used for every child/young person.

However, if there is any indication the external tube length has moved or the tube has displaced, either second line x-ray confirmation or removal of the tube and reinsertion of the tube (which is confirmed by pH ≤ 5.5) should take place before any food, medication or water is administered via the tube (NPSA, 2011). This risk factor and decision must be documented within the child or young person’s medical notes for the Coburn unit and RIO notes for community based setting.
8.8      Continuous overnight feeds via nasogastric tube
Continuous overnight feeds via nasogastric tube is not recommended within the community setting due to high risk of aspiration. Parents must be adequately informed of the risks involved with continuous nasogastric tube feeding. The administration of continuous overnight feed will only be considered in exceptional circumstances. The community dietitian or nurses within Community Children’s Nursing Service must obtain a letter from the hospital consultant confirming their acceptance of responsibility for a child receiving continuous overnight feeds via nasogastric tube against the risks identified in appendix 2. The risk assessment must then be completed, followed by implementation of an action plan to help minimise risks.

Community Children’s Nursing Service must ensure parents/guardians have received resuscitation training if the child or young person is commenced on continuous overnight feeding via a nasogastric tube prior to discharge from hospital.

9. Nasojejunal Tubes (NJT)

Some children are unable to tolerate feeding into the stomach and require a nasojejunal tube which bypasses the stomach. These tubes are more difficult to insert in comparison to nasogastric tubes, therefore insertion usually takes place during surgery or in the x-ray department. Confirmation of placement is determined by x-ray, after which the guidewire is removed and feeding may commence. There are a small number of children in the community who are fed via a nasojejunal tube. The type of nasojejunal tube inserted will be at the discretion of the clinician. Nasojejunal tubes look very similar to nasogastric tubes as they are secured to the child’s check with the same recommended dressings. As there is no acid in the jejunum, pH testing is not required and confirmation of placement is via x-ray only. If the tube were to become blocked or dislodged (identified by unable to flush, a change in the number at the nostril, loose tapes or vomiting milk), the child or young person must be taken to hospital and the urgent jejunal tube pathway for nasojejunal tubes followed (See appendix 10).
10. Gastrostomy devices
For patients who require long-term enteral feeding, a gastrostomy device is the route of choice. A gastrostomy tube is inserted through the abdomen to deliver nutrition directly into the stomach. Benefits include being less likely to be displaced than an NG tube. Displacement of NG tubes will interrupt feeding and replacement can be uncomfortable.
A gastrostomy tube may be placed endoscopically (percutaneous endoscopically placed gastrostomy (PEG) or radiologically (radiologically inserted gastrostomy (RIG) or surgically. They are made from polyurethane or silicone and are therefore suitable for short or long term feeding.
10.1
Percutaneous Endoscopic Gastrostomy (PEG)

A gastrostomy tube inserted using endoscopic guidance through the mouth, into the stomach and out through the abdominal wall. For feeding directly into the stomach, or for drainage of stomach contents. 

Freka PEG
[image: image9.emf]
· Inserted in hospital under general anaesthetic 
· Available in two widths (French/Fr)- 9Fr & 15Fr
· Must be advanced and rotated daily from day 10 after insertion
· Clean the tube and stoma site daily
· Ensure the external fixation is 2mm from the skin to avoid over-granulation 
· Clamps to be left open when tube is not in use, to avoid flattening and weakening of the tubing.
· Freka tubes should last for more than 18 months, but are kept in place indefinitely as long as they are functioning
· If a new replacement tube has been inserted, advance and rotation can begin from day 1 if no signs of trauma
· If the whole tube needs to be replaced, this must be done in the hospital. The following spare parts are available:
[image: image10.emf]              [image: image11.emf]                   [image: image12.emf]
         End adaptor                                   External fixator                                      Clamp
See appendix 11 for manufacturers guide on care and maintenance of Freka PEG tubes
Corflo PEG

[image: image13.jpg]‘ﬂ(}




· Inserted in hospital under general anaesthetic
· Available in one width- size 16Fr
· Must be advanced and rotated from day 28 after insertion
· Clean the tube and stoma site daily
· Ensure the external fixation is 2mm from the skin to avoid over-granulation 
· Clamps to be left open when tube is not in use, to avoid flattening and weakening of the tubing.
· Corflo tubes should last for more than 18 months, but are kept in place indefinitely as long as they are functioning
· If a new replacement tube has been inserted, advance and rotation ca begin from day 1 if no signs of trauma
· If the whole tube needs to be replaced, this must be done in the hospital. The following spare parts are available from Enabled Living
          [image: image14.png]


                       [image: image15.jpg]


                          [image: image16.emf]
             Corflo Y adaptor                                External fixator                               clamp
See appendix 12 for manufacturers guide on care and maintenance of the Corflo PEG 
10.2
 Balloon Gastrostomy
A low profile balloon retained gastrostomy, inserted through an existing gastrostomy stoma (more than 6 weeks post initial tube placement). The length of the patient’s stoma must be measured using a stoma measuring device, to ensure the correct shaft length of the tube. 
[image: image17.jpg]



· Can be inserted in the community setting by staff or parents/carers with appropriate training
· Low profile design
· Available in a range of widths and lengths
· Check balloon inflation every 7 days. The water in the balloon must be replaced (follow the manufacturers guide for volume of water to be inserted into the balloon).
· Rotate and clean the device and stoma site daily
· Ensure the device is flush with the abdomen to avoid over-granulation caused by too much movement 
· The device can remain in place between 3- 6 months, but is routinely changed every 3 months
· Extension set to be removed when the device is not in use
· Extension set can be washed and reused for up to two weeks

· Utilise the introducer if experiencing difficulty inserting the balloon gastrostomy into the stoma

· Stoma length can be checked as necessary using the stoma measurement device
For demonstration videos on how to inflate the balloon, attach the extension set and commence a feed, follow this link https://www.gbukgroup.com/brands/gbuk-enteral/gastrostomy-jejunostomy/low-profile-gastrostomy-buttons/amt-mini-one-balloon-button/amt-mini-one-sm1-5/
Extension set
                                             
Stoma measuring device

[image: image18.jpg]-



 [image: image19.jpg]



Link to video on how to measure the stoma length
https://www.gbukgroup.com/brands/gbuk-enteral/gastrostomy-jejunostomy/gastrostomy-placement/amt-balloon-stoma-measuring-device/amt-balloon-stoma-measuring-device/
Introducer 

[image: image20.jpg]



See appendix 13 for introducer user guide

10.3
 Other Gastrostomy Tubes

The above gastrostomy tubes are most common amongst children and young people that reside in Newham. There are a range of other gastrostomy tubes available. If you are caring for a child or young person with one of these devices, or if the device is not listed; please follow the manufacturers guide. 

[image: image21.emf]
[image: image22.emf]
11.         Gastrostomy/Jejunostomy Devices
A gastrojejunostomy (GJ) feeding device is a combination of a gastrostomy device (placed into the stomach) and a jejunostomy device (placed into the jejunum, the first part of the intestines). The feeding device allows feed to be given directly into the jejunum, bypassing the mouth, throat and stomach. It also allows access to the stomach to draw off excess air, test the contents of the stomach, provide drainage, or possibly give medications directly into the stomach.

All GJ devices have two ‘ports’ – one ends in the jejunum and the other in the stomach. These are clearly labelled, so you will know which is which. The advantage of having two ports is that different fluids and medicines can be given into the stomach and/or the jejunum as directed by the dietitian and pharmacist.

A GJ device is usually suggested after gastrostomy feeding has been unsuccessful. Some children cannot tolerate feeding directly into the stomach, so a GJ device can be helpful as it bypasses the stomach. A GJ device can be helpful for children with gastric motility problems, where food does not pass through the stomach to the intestines as it should.
11.1 Percutaneous Endoscopic Gastrostomy - Jejunostomy (PEG-J)
Percutaneous Endoscopic Gastrostomy with a Jejunal extension – a 9Fr tube passed through an existing Freka 15Fr PEG under endoscopic guidance, into the jejunum, to allow feeding directly into the jejunum. The gastric port can also be used for administration of fluids, medication or feed, or drainage. 

[image: image23.jpg]


                      SHAPE  \* MERGEFORMAT 



· Inserted and replaced in hospital under general anaesthetic.
· Repaired in hospital under interventional radiology.
· Gastric and jejunal ports clearly labelled or colour coded.
· Cool boiled water to be used for water flushes

· Single use syringes to be used with any jejunal device
· Gastric port typically used for medication, water flushes, free drainage and aspiration.
· Jujunal port for liquid feed and water flushes.
· Cap, tube and stoma site to be cleaned daily.
· Device should be advanced weekly, but must not be rotated as this will cause the jejunal extension to twist and block within the bowel
· Leave clamps open when tubes are not in use to prevent weakening of the tube. 
11.2 Trans-gastric Jejunal Tubes
A feeding tube placed directly into the stomach and fed through to the jejunum. This device is held in place with a balloon in the stomach. Extension sets are then connected to enable feed, water or medication to be given. 
[image: image25.jpg]



· Initially inserted in hospital under general anaesthetic.

· Replaced in interventional radiology under x-ray while the child is awake
· Replaced every 6 months typically 
· Gastric and jejunal ports clearly labelled ‘G’ or ‘J’

· Cool boiled water to be used for water flushes

· Single use syringes to be used with any jejunal device
· Gastric port typically used for medication, water flushes, free drainage and aspiration.
· Jujunal port for liquid feed and water flushes.
· Jejunal tube to be flushed every 6 hours if not in use
· Stoma site to be cleaned daily.
· Never turn or advance the tube as this can cause the tube to migrate out of the jejunum and into the stomach
· The water in the balloon must be changed WEEKLY to prevent the water in the balloon evaporating, which may lead to the device becoming dislodged
· Extension sets can be used for two weeks and can be washed with warm soapy water (ensuring thorough rinsing). 
11.3 Jejunostomy Tubes
A jejunostomy tube is placed through the skin of the abdomen into the midsection of the small intestine to deliver nutrition. A jejunostomy or a jejunal extension to a gastrostomy should be used if a patient has undergone upper GI surgery or has severe delayed gastric emptying. A jejunostomy tube may be placed endoscopically (Percutaneous endoscopically placed jejunostomy (PEJ) or radiologically (radiologically inserted jejunostomy RIJ) or surgically.
12.          Syringes for Enteral Feeding
Within East London NHS Foundation trust, only ENFIT syringes can be used to administer

medication, enteral feed or water via an enteral feeding device. ENFIT syringes cannot be

connected to intravenous catheters or ports. 
Medication or feed should be calculated over a daily requirement. The same syringe can be used to flush before and after a feed.
12.1
Reusable Syringes
The current brand of reusable syringe is Enteral ISO-safe home. These syringes can be used up to 84 times each. Syringe assessment must be carried out to calculate the number of syringes needed per day then multiplied by two to obtain the monthly amount. These can safely be re-used up to six times per day for no more than 14 days (or 84 uses). They must then be discarded and new syringes commenced after 14 days. Extra syringes may be ordered if the child attends school.
12.2
Cleaning Reusable Syringes
[image: image26.png]1. Remove the syringe plunger 2. Rinse thoroughly under cold
from the syringe barrel. Wash running tap water to remove
both components thoroughly all traces of the soapy water.
in hand-hot soapy water using Inspect each item carefully to
washing up liquid. Pay particuiar  confirm that alltraces of feed
attention to removing any trace of o medication have been
feed or medication from crevices  removed.

or comers.

3. Shake any residual finse water 4. The syringe may be cleaned
offthe syringe components and  and re-used up to six fimes per
then allow to air dry. Donotre-  day for no more than 14 days.
‘assemble wet components. Once

dhry, re-assemble the syringe and

store in a clean dry container with

alid.





12.3
Single Use Syringes 
The current brand of single use syringes is Entral.  The difference in brand between the single use and reusable syringe aims to prevent the wrong syringes being ordered. Single use syringes can be ordered and used for the following clients:
· Child or young person who is fed directly into the bowel or has malabsorption problems

· Child or young person who is immunosuppressed 

· Child or young person who is using the syringe for cytotoxic medication

· Anyone who is within an inpatient clinical setting.

12.4
Ordering Syringes from Enabled Living

All health professionals working within the trust need to ensure they order the appropriate size syringes for the child’s feeding and medication regime. A table of syringes stocked at Enabled Living along with ordering codes can be found below. 
Reusable syringes
	Make
	Type
	Size
	NHS supply code
	Enabled Living     code

	Iso-saf Enteral
	ENFit/enteral
	1ml
	FTA311
	F01A

	Iso-saf Enteral
	ENFit/enteral
	2.5mls
	FTA312
	F02A

	Iso-saf Enteral
	ENFit/enteral
	5mls
	FTA309
	F05A

	Iso-saf Enteral
	ENFit/enteral
	10mls
	FTA179
	F10A

	Iso-saf Enteral
	ENFit/enteral
	20mls
	FTA301
	F20A

	Iso-saf Enteral
	ENFit/enteral
	60mls
	FTA305
	F60


Single use syringes
	Make
	Type
	Size
	NHS supply code
	Enabled Living code

	EntralTM
	ENFit/enteral
	1ml
	FTA317
	F1101A

	EntralTM
	ENFit/enteral
	2.5mls
	FTA316
	F1102A

	EntralTM
	ENFit/enteral
	5mls
	FTA313
	F1105A

	EntralTM
	ENFit/enteral
	10mls
	FTA314
	F1110A

	EntralTM
	ENFit/enteral
	20mls
	FTA318
	F1120A

	EntralTM
	ENFit/enteral
	60mls
	FTA346
	F1151A


Enabled Living Healthcare also stock catheter tip syringe for bladder use only as follows:

	Size
	Enabled Living code

	50mls
	A150

	60mls
	F1150


13.       Emergency EN-Plugs
When a gastrostomy or jejunostomy device is accidently displaced, there is a risk of the stoma closing; therefore it is imperative that a suitable device is inserted into the stoma after displacement. EN-Plugs are designed for emergency use to stop the stoma from healing and ensure patency of the tract with minimal risk. Nursing staff, parents and school staff must have training to insert the EN-Plug to ensure they do so appropriately and correctly. 

Not all children/parents require EN-Plugs at home. For example, if the child has a balloon gastrostomy in situ, they should be given a spare balloon gastrostomy so if it is accidently removed, it can be replaced immediately. Situations need to be assessed on an individual basis.

En-Plugs are made of medical grade silicone and are latex and phthalate free. The French size is moulded on the top of the EN-Plug and each size has different colours. 

Colour and sizes – Black (10F), White (12F), Green (14F) and Orange (16F). 

The size of the EN-Plug inserted must be the same size as the enteral device that was accidently removed. For example, if the child has a 12 French balloon gastrostomy in place, then the White 12F EN-Plug will need to be inserted in an emergency. The EN-Plug length for gastrostomy and jejunostomy use is 4cm. A longer length is available but this must not be used in children. 

If the child or young person has a PEG/PEG-J that is accidently displaced, the correct EN-Plug will need to be inserted and the child must attend hospital immediately for a replacement PEG/PEG-J. Balloon gastrostomies can be replaced in the community setting. 

[image: image27.jpg]



Procedure for inserting the EN-Plug:

1. Do Not Panic – it is not life threatening.

2. Wash hands and apply suitable fitting gloves.

3. Lie the child down or recline them in their chair.

4. Wipe the stoma site with gauze and water to ensure the stoma site is visible.

5. Open up EN-plug pack.

6. Remove the correct size EN-plug from the pack. This should be the same size as the child’s enteral feeding tube 

7. Insert the EN-plug into the stoma site until it is flush with the abdomen.

8. Cover with a first aid dressing or tape to secure the EN-Plug
If unable to insert the correct size EN Plug into the stoma

9. Remove the next size down EN-plug from the pack and attempt to insert into the stoma. If successful, cover with first aid dressing 

10. If unsuccessful, cover with a first aid dressing

11. The EN-plug is only temporary, arrange for the enteral device to be reinserted either at home or hospital (depending on device). 
14.       Methods of Feed Delivery 

Enteral feeds can be administered through a range of methods. Always follow the method of feeding recommended by the dietitian. This can be found on the feeding regimen. If you feel that a different method would be more appropriate for the patient, please discuss with the dietitian. 
14.1
Pump feeding

The feed pump used within East London Foundation Trust for children and young people is the Amika® smart enteral feeding pump manufactured by Fresenius Kabi. The volume and rate of each feed is calculated by the dietitian. Please use the following link to access training videos on how to use the Amika feed pump and how to troubleshoot. Fresenius Kabi are responsible for servicing the pumps on a yearly basis. Any problems with malfunctioning pumps should be reported directly back to Fresenius Kabi.

https://www.fresenius-kabi.com/gb/products/amika
A pictorial guide can also be accessed in a range of languages using the link above and selecting ‘downloads’.

      [image: image28.png]


 [image: image29.emf]
The Amika® pump can be used either on a stationary stand (within the patient’s home) or with the portable rucksack to allow mobility. Fresenius Kabi stock two size rucksacks for ambulatory use with the Amika® feed pump
· Mobility Kit Small (blue) for younger children.

· Mobility Kit Large (black) for older children and adults.
Volume delivery 

The volume to be delivered must be set prior to each feed and the previous feed delivered must be cleared before a new feed is started. This will enable the volume infused to be monitored and ensure the child or young person receives the correct amount of feed. Any problems identified with under or over delivery of feed must be reported back to Fresenius Kabi immediately (Medical Device Alert MDA/2011/058) 

The Amika® pump will reset volume delivery if the feed is interrupted where the pump is switched off and on again or if there is a power failure. If a feed is interrupted before the volume is delivered, ensure pump is placed on hold by pressing the stop button; this will prevent over delivery of feed to the child or young person. The risk of overfeeding following power failure to the feeding pump must form part of acquisition of competency. Please ensure parents, carers and school staff are aware of the risks of overfeeding outlined in the feed pump risk assessment tool (appendix 3).
14.2 Giving Sets
Giving sets are required to feed with the pump. There are various giving sets available that can be ordered by the dietitian from Fresenius Kabi. The dietitian will select the most appropriate and safe giving set. Feeding sets are provided for both the stationary stand and mobile rucksacks. Only the Duo lines are interchangeable between stationary and mobile set up. Giving sets with a chamber will not fit within the mobile rucksacks and should not be used as this will lead to problems with kinking and air within the line, causing the pump to alarm.

The giving set needs to be correctly fitted within the pump to prevent any free flow of feed to the child or young person as this poses a potential risk of fatal overfeeding (Medical advice alert MDA/2007/098).

All feeding sets must be primed using the pump and not primed using gravity.

The most common types displayed below
[image: image30.emf]
[image: image31.emf]
[image: image32.jpg]



14.3 Bolus Feeding

Bolus feeding involves giving the feed in measured doses. This is measured in a syringe and then administered directly into the enteral device, typically over 3-5 minutes. 

14.4 Gravity Feeding
Gravity feeding allows the feed to drip into an enteral device using gravity rather than a feed pump. This is achieved by removing the plunger from a 60ml syringe, connecting it to the enteral device and then adding the feed. The higher the syringe is held above the stomach, the faster the feed enters the stomach. Not all children or young people can tolerate the rate of gravity feeding. Gravity feeding must be initiated within the hospital setting first before the child is discharged home; this allows staff to fully assess their tolerance. The hospital setting must inform the community dietitian of the volume tolerated via gravity.
15       Water Flushes
Enteral feeding devices must be flushed regularly with water, before and after medications and feeds are administered. Flushing before will check the patency of the tube whilst flushing afterwards will ensure the tube remains clear of any feed or medication which could potentially block the tube (NICE, 2003).

Enteral feeding tubes that are not being used regularly should be flushed at least 3 times a day to ensure patency of the tube (Huband and Trigg, 2000; Merck Serono, 2009 and Medicina, 2011)

The volume of water is dependent on the child or young person’s needs and will vary depending on hydration requirements. The dietitian will advise the family on how much water to flush and this should be documented within the care plan for the child or young person.

Cool boiled water 
· For children under 12 months

· Children or young people receiving enteral feeds into the Jejunum 
· Children or young people who are immunocompromised. 

· Inflating balloons of balloon retained devices

Freshly drawn tap water – for all other children and young people.

(NICE, 2003; DoH, 2010) 

16     Types of Feed

16.1
Sterile Commercial Feed
The majority of children and young people will be on these feeds. Feeds should be stored in a clean dry environment, between 5-25 degrees. Check expiry date before use. Do not add anything to the feed. Discard unused open feed after 24 hours. If feeds have been opened, they should be refrigerated below 5 degrees and used within 24 hours. At room temperature, the feed must be used within 4 hours if not given continuously. If the giving set has not been removed, the feed can be used for up to 24 hours. 
16.2 Decanted Sterile Feeds 
Feeds which are not ready to hang or require additions must be decanted into a sterile reservoir. The full volume for 24 hours should be decanted using an aseptic no touch technique.
16.3 Powdered Feeds/Non-Sterile Feeds

Utensils must be sterile or heat sterilised in a dishwasher. Feeds must be thoroughly mixed using a non-touch technique. Cooled boiled water at home to make up powdered feeds. Modified feeds can be refrigerated below 5 degrees for up to 24 hours. Feeds can hang at room temperature for up to 12 hours at home if the patient is older than 12 months and not immunocompromised. 

16.4 Blended Diet

East London NHS Foundation Trust (ELFT) recognises that there has been a national increase in popularity of blended/liquidised diets via enteral feeding tubes as an alternative to commercially available prescribed enteral feeds in the UK. There is a growing body of new evidence which demonstrates that anecdotal benefits reported by patients and families can be replicated under research conditions. These benefits included:

· Reduced vomiting and retching

· Improved bowel function

· Reduced dependence on medication

· Improved general wellbeing and mood
It is important that when patients or families are considering using a blended diet that they are aware of all the possible risks. A comprehensive, individualised risk assessment should be completed for all (appendix 4), in line with ELFT Blended diet policy. The risk assessment is likely to be completed by the child’s dietitian.
ELFT clinicians will endeavour to support a family’s decision to transition to a blended diet aiming to work collaboratively with the patient/ family and carers to reduce the possible risks. The Dietitian should document and discuss reasons for the request and any alternatives that have been considered
For assessment and commencement of a blended diet, please refer to the ELFT Standard Operating Procedure for Blended Diet in Children via Enteral Feeding Tubes 2022.
17       Troubleshooting 

17.1 Troubleshooting a Blocked Gastrostomy Tube
The following steps can be taken to unblock an enteral feeding tube:

· Ensure all clamps are open and the tube is free from kinks, undo the fixation device. 

· Draw up 20ml water in a 60ml enteral syringe. 

· Massage the feeding tube around the area of the blockage if visible. 

· Attach the syringe to the end of the tube and pull back on the plunger. If anything comes out of the tube, disconnect the syringe and discard the contents. 

· Refill the syringe with 20ml water and reattach to the feeding tube. Push and pull on the syringe as firmly as possible. 

· Continue to massage the tube while pushing and pulling on the syringe until the blockage is cleared. This can take some time, allow 1-2 hours. 

· Once the blockage is cleared, flush the tube with clean water using a push pause massage technique. Clamp the tube and replace the fixation device. 

· If unable to clear the blockage, leave for half an hour and try again. 
17.2 Troubleshooting a Jejunal Tube   

Any child or young person with a jejunal tube or gastrostomy tube with jejunal extension are advised to attend the Royal London Hospital if any problems arise. Jejunal devices can only be repaired in the interventional radiology department under X-ray. Problems that may arise include:

· A blocked tube

· Child or young person vomiting milk

· Milk aspirated from gastric port of a GJ tube

· Connection is broken and child or young person is unable to feed

· There is a split in the tube 

· The whole tube has come out

Parents/carers are encouraged to follow the guidance in Appendix 15 and Appendix 16, and pick a scenario that most fits their child’s tube issue. They must then follow troubleshooting guidance and if unsuccessful, contact the Royal London Hospital. 
Important information on who to contact regarding urgent jejunal tube change 
1) ‘In hours’ to contact Paediatric Assessment Unit (PAU) 10am-8pm Monday to Friday – Telephone Number: 02035945760
2) ‘Out of hours’ after 8pm and at weekends – attend Royal London A&E department 
3) If PAU up to full bed capacity then to go to A&E
5) Please bring your child’s spare tube and jejunal tube patient passport with you
17.3    Overgranulation
Overgranulation is an excess of tissue that rises above the surface of the stoma. It often occurs when there is too much movement of the feeding tube, the stoma is wet, too much pressure on the stoma or a result of an infection. Overgranulation can often be painful for the child or young person.

[image: image33.jpg]



The following steps can be taken: 

· Ensure the fixation device is placed correctly 2mm away from the skin. If loose, this can exacerbate or cause overgranulation. 

· If unsure about treating overgranulation contact the GP or local stoma nurse specialist who can recommend topical creams.
· Apply double thickness foam dressing for 7-10 days. Leave in situ for 1-3 days 

· Try following salt treatment guidelines in Appendix 14.
17.4  Leaking Stoma  

· Ensure the fixation device is placed correctly 2mm away from the skin. If loose, this can exacerbate leakage. Ensure the child or young person is positioned correctly when feeding. 

· Check the tube for damage, if damaged, repair or replace tube. Or refer to acute setting.

· Check the patient is not suffering with constipation or a chest infection, if so treat the problem. 

· Test leakage with pH indicator to determine whether it is stomach acid or a potential infection. 

· If pH 5.5 and below, leakage is gastric content. Apply barrier cream and a dressing for 10-14 days at least 

· If possible infection, swab and contact GP 

· If still leaking, consider resizing the gastrostomy tube. 

17.5 Diarrhoea 
In the majority of cases, the cause of diarrhoea is not related to the feed. In some instances, diarrhoea may be induced by other causes including:
· Medications e.g. antibiotics

· Infection - a stool sample should be sent to microbiology immediately

· Feed infusion rate
· Fibre content of feed

· Malabsorption
· Clinical condition

If feed is suspected of causing the diarrhoea contact the home enteral feeding dietitian. The dietitian will consider the amount and type of feed, its composition, osmolarity and the way it is administered. Make sure feed is administered at room temperature.
17.6 Nausea or Vomiting

Possible causes of nausea and vomiting include medication, infection, constipation and feed infusion too rapid. Follow these steps:
· Check for infection 

· Review medications

· Avoid giving the feed too quickly or in too large a volume. Seek advice of the dietitian with regards to rate of feed or frequency of bolus feeds.
· If the patient has a nasogastric tube and if vomiting occurs, check tube position by testing the pH level
17.7 Constipation
Possible causes include medication, lack of fluid, fibre content of feed and changes in gut motility. 

· Ensure patient has an adequate fluid intake and that all prescribed flushes of water are delivered.  
· Contact Dietitian to ensure adequate fluids and fibre are prescribed. 
· Consider laxatives. 

17.8 Buried Bumper

This is caused by insufficient frequency of advance and rotation of the gastrostomy tube or insufficient frequency of advance of the PEG-J.  

· Attempt to advance and rotate the gastrostomy tube 

· Attempt to advance the PEG-J tube

· If suspect buried bumper contact, refer the child or young person the Royal London Hospital immediately.

18     Training for parents/carers, staff and schools
Training to manage the enteral feeding device is provided by registered nurses and nurse associates within East London Foundation Trust. Only staff who have received training and have completed either a workbook or competency are able to teach, supervise and sign off the competency of others. This competency or workbook must be marked or assessed by a registered nurse within the Trust who already holds a competency. 
Staff must complete one of the following:
· Enteral Feeding Workbook (Appendix 17)
· Nasogastric Tube Feeding Workbook (Appendix 18)
· Competency for Enteral Tube Feeding (Appendix 19)

· Passing the Nasogastric Tube Competency (Appendix 20)
In order to keep up to date with current practice and maintain their competency, staff must attend enteral feeding theory training delivered by the Practice Development Facilitator every 18 months. 

Competent nurses and nurse associates within ELFT can provide training and sign off competencies for the following groups:

· Parents and main carers of children that are under the Community Children’s Nursing Service and reside in the Borough of Newham
· School staff within Newham who have a child or young person with an enteral feeding tube attending school
Parent/carer training

If the enteral feeding tube was inserted within the acute setting; staff within the acute setting are responsible for ensuring training is delivered and parents/carers are competent to manage their child’s device prior to discharge. Acute staff must sign a competency document to evidence this; which is then given to community staff on discharge. 
If no competency document was received upon discharge, community staff must contact the acute setting to obtain a copy. If for any reason, this was not completed and the child or young person has already been discharged; ELFT staff must assess the parent/carer, sign the appropriate competency and upload it to the child’s electronic record. 
Training for the Amika feed pump is usually carried out by Fresenius Kabi if the child is in the acute setting. If delivery of feed pump feed training is required within the community setting, this can be completed by a competent registered nurse or nurse associate. ELFT staff must ensure parents/carers are aware of the risks identified in Appendix 3 in relation to pump power failure and over delivery of feed. 
Equipment and mannequins can be used to provide parent/carer training, however the final assessment/sign off should be carried out directly on the child with the parent demonstrating they are safe to feed their child or young person.

Parents/carers are only expected to complete the appropriate competency document and not any ELFT workbooks. 

If parents/carers are trained to pass the nasogastric tube, their competency must be reassessed every 18 months. This includes demonstrating a correct NEX measurement, inserting the NGT safely and correct pH testing of aspirates. 
The following competency document should be completed for parents/carers based on the individual child’s device

· Nasogastric Tube Feeding Competency (Appendix 21)

· Competency for Passing the Nasogastric Tube (Appendix 20)

· Competency for Enteral Tube Feeding (Appendix 19)

School training
Schools within Newham are invited to attend enteral feeding training if they have a child or young person with an enteral device. This training runs throughout the year and consists of virtual theory training and a practical classroom-based competency session 4 weeks later. The gap between the theory and practical session is to enable school staff to practice feeding the child or young person in school under supervision of another school staff member who is competent. Schools who do not have a competent staff member are supported to gain practical skills by the special school nursing team. 

School staff are expected to complete the appropriate ELFT workbook and competency document to be deemed competent. During the classroom-based competency session, school staff are marked against the practical assessment sheet (Appendix 22). If they pass the workbook and practical assessment, they can feed a child or young person independently in school. School staff who fail the practical assessment will receive feedback on areas for improvement and encouraged to gain more practice before returning for reassessment. 
By signing the competency document, ELFT staff are confirming that the learner demonstrated safe and competent practice at the time of assessment. School staff also sign the competency to confirm they will carry out the procedure as they have been trained, will not undertake any procedure outside of the competency and will seek additional training if there are any concerns around their competence. School staff must renew their competency every 18 months.

Schools must have a system for documenting administration of enteral feeds. If a child or young person requires nasogastric tube feeds in school; competent school staff must double check pH aspirates and ensure they complete the Nasogastric Tube Position Confirmation Record (Appendix 9). 

19    Transition to Adult Services
On transition to adult services, the home enteral feeding Dietitian will refer the young person to the adult dietetic team and the named nurse will refer to the adult nutritional nurse. Supplies received from Enabled Living will continue, however be moved over to the adult budget. ELFT staff must inform Enabled Living once a young person has moved over to adult services.  
20     Audit
Currently, an annual audit takes place to monitor compliance for children and young people receiving nasogastric tube feeds. The table below outlines the standards for audit:
	No.
	Standard

	1
	The nasogastric tube must be radio-opaque with external markings.



	2
	The pH strips must measure 0-6 pH and be CE marked.



	3
	All nurses who provide care and management for children with nasogastric tubes must have a completed competency or workbook.

	4
	Nurses to document the initial placement and confirmation checklist on RIO (including NEX, NGT size, length inserted, nostril and pH level)

	5
	Parents must complete a nasogastric tube feeding competency signed by a registered nurse.

	6
	Parents who insert the nasogastric tube must have the ‘passing the nasogastric tube competency’ signed by a registered nurse

	7
	School staff who feed via nasogastric tube must complete a nasogastric tube feeding competency signed by a registered nurse.

	8
	Children on continuous overnight feeds must have confirmation from a consultant and ELFT risk assessment completed.

	9
	All children with nasogastric tubes must have a dietetic care plan.



	          10
	All children with nasogastric tubes must have a nursing care plan.




The audit cycle must include 20% of caseload. If the number of children and young people with nasogastric tubes in place falls below 20 within caseload at time of audit, all notes should be audited. Audit results are shared with staff within Community Children’s Nursing Service along with recommendations, actions and a planned re-audit date if standards fall below 100%.
References
Macqueen, S., Bruce, E. and Gibson, F. (2012). The Great Ormond Street Hospital manual of children’s nursing practices. Chichester, West Sussex ; Malden, Ma: Wiley-Blackwell.

‌

Taylor, S.J., Allan, K., McWilliam, H. and Toher, D. (2014). Nasogastric tube depth: the “NEX” guideline is incorrect. British Journal of Nursing, 23(12), pp.641–644.

‌

akhpub.aboutkidshealth.ca. (2017). AboutKidsHealth. [online] Available at: https://akhpub.aboutkidshealth.ca/Article?contentid=984&language=English [Accessed 27 Jan. 2022].

‌
Burns, S. M., Carpenter, R. And Truwit, J.D. (2001). Report on the development of a procedure to prevent placement of feeding tubes into the lungs using end-tidal CO2 measurements. Critical Care Medicine. 29(5):936-9
ECRI Institute. (2017). Implementing the ENFit Initiative for Preventing Enteral Tubing Misconnections. [online] Available at: https://www.ecri.org/components/HDJournal/Pages/ENFit-for-Preventing-Enteral-Tubing-Misconnections.aspx?PF=1%3Fsource=print  [Accessed 9 Apr. 2019]. 
Fresenius Kabi (2019). Amika® - Feeding Pumps. [online] Fresenius-kabi.com. Available at: https://www.fresenius-kabi.com/gb/products/amika  [Accessed 9 Jul. 2019].

Huband, S. and Trigg, E. (2000) Practices in Children’s Nursing: Guidelines for Hospital and Community. Churchill Livingstone.

International Organization for Standardization (ISO). 2016. Small-bore connectors for liquids and gases in healthcare applications—part 3: connectors for enteral applications. ISO 80369-3:2016. Available at: https://www.iso.org/standard/50731.html  [Accessed 23 May 2019].

Medicina (2011). Nasogastric feeding tubes and accessories. Medicina, Bolton. Available on line at www.medicina.co.uk/uploads/files/nasogastric_tube_booklet.pdf
Metheny, D., Dettenmeier, P., Hampton, K et al. (1990). Detection of inadvertent respiratory placement of small –bore feeding tubes: a report of 10 cases. Heart Lung 19(6):631-8

Metheny, N.A., Smith, L. and Stewart, B.A. (2000). Development of a reliable and valid bedside test for bilirubin and its utility for improving predication of feeding tube location. Nursing Research. 49(6): 302-9
Metheny, N.A., Stewart, B.A., Smith, L., Yan, H., Diebold, M. And Clouse, R.E. (1997). pH and concentrations of pepsin and trypsin in feeding tube aspirates as predicators of tube placement. Journal of Parental and enteral nutrition. 21(5): 279-85

Metheny, N.A., Stewart, B.A., Smith, L., Yan, H., Diebold, M. And Clouse, R.E. (1999). pH and concentration of bilirubin in feeding tubes aspirates as predictors of tube placement. Nursing Research. 48(4): 189-97

Metheny, N.A. and Titler, M.G. (2001). Assessment of feeding tubes. American Journal of Nursing. 101(5):36-45

Metheny, N.A., Wehrle, MA., Wiersema,L. et al (1998) Testing feeding tube placement: auscultation Vs pH method. American Journal of Nursing. 98(5): 37-42; quiz 42-3

Nursing and Midwifery council (NMC), 2018. The Code. Professional standards of practice, and behaviour for nurses, midwives and nursing associates. London. 10th October 2018. 
Spalding, K. and McKeever, P. (1998) Mother’s experiences caring for children with disabilities who require a gastrostomy tube. Journal of Paediatric Nursing. 13(4): 234-242
[image: image34.png]



Huband and Trigg (2000); NICE (2006)








Capsule Monarch Gastrostomy Tube








This is a non-balloon retained tube which is used for patients whose balloon retained tubes do not last. It is inserted via an existing stoma and lasts 1-2 years. 




















Radiologically Inserted Gastrostomy (RIG)





A balloon retained gastrostomy tube inserted using radiological (x-ray) guidance into the stomach directly through the abdominal wall. For feeding directly into the stomach, or for drainage of stomach contents. This method of insertion is used if the endoscopic method is not possible. 




















Amika mobile set





This can be used with the drip stand or in the rucksack.





Varoline giving set





For use with an Abbott feed bottle





Amika giving set





For mobile use with the rusksack








1

