# Water Safety Policy

The East London NHS Foundation Trust strives to ensure equality of opportunity for all, both as a major employer and as a provider of health care. This procedural document has been equality impact assessed to ensure fairness and consistency for all those covered by it regardless of their individual differences and the results are outlined, as required.

| Version number: | 4.4 |
| --- | --- |
| Consultation Groups | Estates Management Team Infection Prevention and Control Committee Health, Safety and Security Committee |
| Approved by (Sponsor Group) | Water Safety Group |
| Date Approved | 16 July 2026 |
| Ratified by: | Health, Safety and Security Committee |
| Date ratified: | 22 July 2026 |
| Name of originator/author: | Assistant Director of Estates, Engineering and Infrastructure, Estates Compliance Manager, Authorising Engineer (Water) |
| Executive Director lead: | Director of Estates, Facilities & Capital Development |
| Implementation Date: | July 2026 |
| Last Review Date | June 2026 |
| Next Review date: | June 2029 |

| Services | Applicable to |
| --- | --- |
| Trust wide | Yes |
| Mental Health and LD | Yes |
| Community Health Services | Yes |
| Primary care | Yes |

Version Control Summary

| Version | Date | Author | Status | Comment |
| --- | --- | --- | --- | --- |
| 1.0 | 28th October 2008 | John Hill – Deputy Director Estates, Facilities & Capital Development | Final | Initial Policy |
| 2.0 | 19th April 2016 | Sean O’Sullivan – Acting Associate Director & PFI Contract Manager | Final | Reviewed. No major changes |
| 3.0 | November 2019 | John Hill Director of Estates, Facilities & Capital Development | Final | 3 yearly review |
| 4.0 | 26th April 2023 | Bevan Speariett - Assistant Director of Estates, Engineering and Infrastructure / Karen Boreham – Estates Compliance Manager / Karina Jones (Authorising Engineer – Water) | Final | Full review and update of policy. |
| 4.1 | 22nd January 2026 | Bevan Speariett - Assistant Director of Estates – Engineering and Infrastructure | Review | Review prior to Water Safety Group meeting |
| 4.2 | 27th February 2026 | Bevan Speariett - Assistant Director of Estates – Engineering and Infrastructure | Review | Approved by Water Safety Group |
| 4.3 | 17th April 2026 | Bevan Speariett - Assistant Director of Estates – Engineering and Infrastructure | Review | Reviewed and approved at Estates Management Team meeting |
| 4.4 | 11th June 2026 | Bevan Speariett - Assistant Director of Estates – Engineering and Infrastructure | Final | Reviewed and approved at Infection Prevention and Control Committee meeting |

- Contents

Paragraph										         Page

1	Policy Gateway	4

2	Executive Summary	5

3	Introduction	5

4	Scope	6

5	Exclusions	6

6	Definitions	6

7	Related Trust Policies & Procedures	7

8	Roles and Responsibilities	7

9	Training & Competence requirements	12

10	Records and Drawings	12

11	Incident Reporting	12

12	Alterations and Modifications	12

13	Notification of closure	13

14	Policy Review	13

15	Monitoring Compliance	13

16	References	14

17	 Appendix A: Policy Equalities Impact Assessment	16

# Policy Gateway

Please complete the checklist and tables below to provide assurance around the policy review process.

☒ I have involved everyone who should be consulted about this policy/guidance ☒ I have identified the target audience for this policy/guidance ☒ I have completed the correct template fully and properly ☒ I have identified the correct approval route for this policy/guidance ☒ I have saved a word version of this policy/guidance for future reviews and reference

Please set out what makes you an appropriate person to conduct this review:

I am the Assistant Director of Estates, Engineering and Infrastructure

Please set out the legislation, guidance and best practice you consulted for this review:

The Health and Safety at Work etc. Act 1974 Health and Safety Executive (2013) Approved Code of Practice (L8 - Fourth Edition) Other references as detailed within Section 16

Please identify the key people you involved in reviewing this policy why, and when:

The Water Safety Group on 23rd January 2026 and approved 27th February 2026 The Estates Management Team on 17th of April 2026 Infection Prevention and Control Committee on the 11th of June 2026 Health, Safety and Security Committee on 16th July 2026

Summarise the key changes you have made and why:

Policy format updated to meet Trust requirements. The following sections have been updated and further summarised - Executive summary, Introduction, Scope, Roles and Responsibilities Exclusion section added to identify any items excluded from this Policy Further definitions added to the definition section Related Trust Policies and Procedures section updated with additional policies Objectives, Policy requirements and Water Safety Plan and Management requirements Water Safety Group sections removed as duplication of other sections

# Executive Summary

East London NHS Foundation Trust is committed to the safe management of all domestic water systems ensuring full compliance with statutory requirements and healthcare guidance. This policy sets out the Trust’s approach to preventing and controlling the risks associated with legionella and other water borne pathogens to maintain safe hot, cold and drinking water for all service users, staff and visitors.

The Trust Board and Chief Executive Officer retain overall accountability for water safety with operational responsibilities delegated through the Director of Estates, Facilities and Capital Development and subsequently to the Assistant Director of Estates, Engineering and Infrastructure. Oversight is provided by the Water Safety Group which ensures that risks are identified, monitored and effectively managed through the implementation of the Water Safety Plan.

The Water Safety Policy requires that all individuals working on Trust water systems are suitably qualified, competent and possess adequate knowledge of the systems they are working on. It emphasises close collaboration between the Estates Department, the Infection Prevention and Control (IPC) team, Contractors, Partners and operational staff to maintain safe water systems across all healthcare environments. Effective water safety management depends on proactive cooperation between management and staff to create an environment that supports high-quality care whilst minimising health hazards as far as reasonably practicable.

This policy adopts national best practice guidance including the HSE ACOP L8, HSG 274 and HTM 04-01 to ensure robust management of water systems. It applies solely to domestic water systems and does not cover scalding risks, water supplies for technical industrial or other specialist purposes or firefighting water suppliers, which are addressed under other governance arrangements.

Access to this policy is provided via the Trust’s Intranet to promote awareness, understanding and compliance.

# Introduction

East London NHS Foundation Trust (ELFT) recognises its responsibilities under Health and Safety at Work Act 1974 (HSAWA), the Management of Health and Safety at Work Regulations 1999 (MHSW), the Control of Substances Hazardous to Health Regulations (COSHH), the HSE’s Approved Code of Practice (ACOP L8), HSG274 and Health Technical Memorandum 04-01. These statutory and guidance documents place a clear duty on the Trust to develop, implement and maintain a Water Safety Policy that defines the Trust’s organisational arrangements and procedure required to manage water safety risks effectively.

The purpose of this policy is to provide staff, contractors and partner organisations with a clear framework for the management of water systems within Trust owned or occupied premises. Compliance with this policy is mandatory for all appointed service providers or contractors, regardless of the basis of their engagement.

The Water Safety Policy, together with the Water Safety Plan, provides detailed guidance on the management, operation, maintenance and environmental monitoring of hot and cold-water systems across the Trust.

# Scope

This Policy applies to all Trust premises whether owned by East London NHS Foundation Trust or occupied under lease, Service Level Agreement (SLAs) or Private Finance Initiative (PFI) arrangements. Where buildings or areas used by Trust staff and / or patients are managed by external parties, the requirements of this Policy remain applicable. In such cases then site specific water safety arrangements may be governed by local policies; however, the Trust retains responsibility for ensuring that all relevant parties are made aware of and comply with the requirements of this policy.

This Policy is intended for use by all staff and contractors involved in the management, operation or maintenance of water systems in accordance with Health Technical Memorandum (HTM 04-01).

# Exclusions

This Policy relates solely to domestic water systems. It does not cover.

- Scalding Risks these are addressed in the Trust’s Scalding Risk Policy

- Water supplies for firefighting services

- Water supplies for technical, industrial or other specialist purposes

# Definitions

| Term | Definition |
| --- | --- |
| ACOP L8 | Legionnaires’ disease - The control of Legionella bacteria in water systems |
| AE (W) | Authorising Engineer (Water) |
| BS | British Standards |
| BS 8580-1 | Water quality: risk assessments for Legionella control – Code of Practice |
| COSHH | Control of Substances Hazardous to Health regulations 2002 |
| CP (W) | Competent Person (Water) |
| DP | Designated Person |
| HBN | Health Building Note |
| HSAWA | Health and Safety at Work etc. Act 1974 |
| HSE | Health and Safety Executive |
| HTM | Health Technical Memorandum |
| HSG274 | Legionnaires disease Technical Guidance published by the HSE |
| IPC | Infection Prevention & Control |
| HCAI | Health Care Acquired Infections |
| MHSWR | Management of Health and Safety at Work Regulations 1999 |
| PPM | Planned Preventative Maintenance |
| RP (W) | Responsible Person (Water) |
| SOM | Senior Operational Manager |
| WSG | Water Safety Group (Multidisciplinary group) |

# Related Trust Policies & Procedures

The following Trust polices should be read in conjunction with this Water Safety Policy, as they provide supporting guidance and outline additional requirements relevant to the safe management of water systems.

- Health and Safety Policy

- Scalding Policy

- Water Safety Plan

- Infection Prevention and Control Policy Manual

- Management and Control of Vacant Premises Policy

# Roles and Responsibilities

The following subsections outline the key roles and responsibilities required to ensure effective management of water safety across the Trust.

## Water Safety Management Structure

## Duty Holder - The Chief Executive Officer (CEO) and Board

The Chief Executive Officer (CEO) and Board have ultimate responsibility for the safety of service users, staff, visitors and all other personnel who may be affected by the Trust’s activities.  They are accountable for the effective implementation of this Water Safety Policy ensuring that adequate resources, competent persons and appropriate arrangements are provided for the safe management of water systems.

In accordance with HTM 00 elements of their responsibility may be delegated to a senior executive; however, the CEO and Board must maintain assurance through independent audit processes that delegated duties are being discharged appropriately and effectively.

The CEO and Board have delegated the day-to-day management and operational control of water systems to the Director of Estates, Facilities & Capital Development who has further delegated responsibility to the Assistant Director of Estates, Engineering and Infrastructure supported by the Trust’s Responsible Persons (Water).

## The Designated Person (DP) – Director of Estates, Facilities & Capital Development

The Director of Estates, Facilities & Capital Development provides the essential senior management link between the Trust and its professional Estates and Engineering functions. They ensure senior management oversight and offer an informed and authoritative perspective on all matters relating to water safety and Estates compliance.

They work closely with the Assistant Director of Estates, Engineering and Infrastructure (Senior Operational Manager) to ensure that sufficient resources, systems and operational support are in place to maintain effective Water Safety Management across the Trust.

The Director of Estates, Facilities & Capital Development is responsible for advising the Trust’s Board on all estate related health and safety matters including.

- Highlighting the requirements of this Water Safety Policy

- Reporting any actual or potential breaches of health and safety legislation related to water systems.

- Ensuring that key water management information, instructions and updates are communicated effectively throughout the Trust via appropriate channels

## Senior Operational Manager (SOM) – Assistant Director of Estates, Engineering and Infrastructure

The Assistant Director of Estates, Engineering and Infrastructure holds operational and professional responsibility for water systems across the Trust. They act as the Trust’s “informed client” ensuring that water safety requirements are clearly specified, effectively managed and robustly monitored.

To fulfil this role, they must have access to appropriate, service-specific professional support that enables maintenance, development and continuous improvement of water safety arrangements. This includes supporting the delivery of the intelligent client function, overseeing the quality of the service provision and ensuring that water systems and processes remain compliant, resilient and fit for purpose.

## The Authorising Engineer (Water) - AE (W)

The Authorising Engineer (Water) is an independent professional appointed by the Trust and reports directly to the Designated Person (DP). They must possess the appropriate qualifications, expertise, knowledge and experience as defined in HTM 04-01 and provide the Trust with impartial specialist advice on all aspects of water safety management.

They play a key role in the assurance framework by offering independent technical oversight and evaluating the competence of individuals involved in water safety. They assess the suitability of and recommend the appointment of Responsible Persons (Water). The AE (W) is appointed by the Chair of the Water Safety Group to deliver services in accordance with the relevant Health Technical Memoranda guidance, with their scope tailored to the specialist requirements of the Trust.

To maintain the integrity of the audit function the AE (W) must remain independent from the Trust’s operational management structure.

The AE (W) shall.

- Provide independent audit and assessment and recommend the appoint of Responsible Persons (Water).

- Provide best practice guidance and specialist technical advice on all statutory and regulatory matters relating to water safety and water quality.

- Review records, manuals and documentation and provide an executive annual summary report to the Director of Estates, Facilities and Capital Development and the Assistant Director of Estates, Engineering and Infrastructure, which details.

  - The efficiency of control measures

  - The suitability and competency of staff involved in the water quality programme

  - The outcome of random inspection and quality audits across the Trust’s premises

- Sanction interpretations of HTM 04-01 and any other relevant guidance including local rules or required derogations where necessary

- Provide written agreement for any local deviations or derogations from HTMs or other statutory guidance required for site specific application

- Ensure that any amendments or updates to HTM-04 or associated water safety documents, as well as any statutory guidance are brought formally to the attention of the Trust and disseminated appropriately

- Provide ad-hoc professional advise including verbal and written guidance to WSG members on matters relating to water safety management and control

- On receipt of a National Patient Safety Alert or similar relating to water safety, ensure that all WSG members are informed and provided with copies

- Undertake regular reviews of the practical implementation of relevant aspects of this water safety policy.

- Liaise with AE(W) counterparts within PFI managed premises or other landlord managed buildings, ensuring that external partners provide assurance of compliance with statutory and water safety requirements.

- Ensure that suitably qualified external specialist Competent Persons are appointed to review water risk assessments, confirming their completeness, relevance, quality and suitability for the ongoing water safety regime.

## Responsible Persons (Water) – RP (W)

Responsible Persons (Water) are the individuals who possess the necessary technical knowledge, experience and appropriate training to manage water systems for a designated group of sites. They must have a comprehensive understanding of the water systems for which they are appointed and hold sufficient authority to make operational decisions regarding those systems.

They are formally appointed in writing by the Designated Person following an assessment of competence undertaken by the Authorising Engineer (Water). They fulfil the duties of ‘Responsible Person’ as defined in HTM 04-01.

The RP (W) is responsible for assessing, selecting and appointing Competent Persons to work on the water systems. They may be Trust employed staff or appropriately qualified competent contractors.

## Competent Persons CP (Water) – CP (W)

Competent Persons (Water) are individuals who have been assessed and appointed by the Responsible Person (Water) as having appropriate technical knowledge, skills and experience to carry out work on a water system safely and effectively. This group may include maintenance personnel, water hygiene technicians and water samplers. Competent Persons may be Trust employed staff or approved external contractors.

## Infection Prevention and Control

The Infection Prevention and Control team works in partnership with the Estates, Facilities and Capital Development team to ensure that the built environment supports safe clinical practice and is maintained to minimise the risk of healthcare associated infections (HCAIs). They provide.

- Clinical advice on water safety and infection prevention measures]

- Support and mentoring for maintenance and operational staff in relation to infection prevention control requirements

- Specialist input into water related and built environment risk assessments

- Guidance on prioritising actions within the Water Safety Plan

- Support in communicating, monitoring and reviewing the Water Safety Policy

They are a key contributor to the Trust’s Water Safety governance framework and works collaboratively to ensure that risks are identified, managed and appropriately controlled.

### Deputy Director of Infection Control

The Deputy Director of Infection Control holds overall responsibility for infection control in the Trust and for the monitoring of Water Safety. They attend the Water Safety Group which oversees this policy and the Water Safety Plan.

### Infection Control Doctor

The Infection Control Doctor is the person nominated by the management to advise on monitoring the infection control policy and microbiological performance of the Trust’s Water Systems.

## Department Managers, Modern Matrons, Lead Borough Nurses and Ward / Managers

Department Managers, Modern Matrons, Lead Borough Nurses and Ward / Managers have overall responsibility for the monitoring, cleanliness and timely reporting of maintenance requirements in patient care environments in their service areas.  They must work collaboratively with the Estates team, Infection Prevention and Control, and the relevant support services to maintain a safe and compliant environment.

They are also responsible for identifying little used or unused water outlets and reporting these to the Estates department. Once identified these outlets must be flushed on at least a weekly basis to minimise the risk of stagnation and the proliferation of waterborne pathogens.

## Clinical Staff

Clinical staff have overall responsibility within their clinical areas for promptly reporting any maintenance defects to water systems to the Estates Maintenance Helpdesk. This ensures timely remedial action and supports the safer operation of water outlets and systems within patient care environments.

## Capital Delivery

The Capital Delivery team is responsible for ensuring that all projects affecting water systems comply with the requirements of the Water Safety Policy and the Water Safety Plan. If full compliance is not achievable then they shall present the proposed deviation and its justification to the Water Safety Group for review and formal agreement. All deviations and the rationale for them must be clearly documented.

The Capital Delivery team should attend the WSG and provide updates on capital projects that impact or have potential to impact water system across the Trust.

They must ensure that all relevant stakeholders are involved at every stage of the project including design development, commissioning and witness testing. A formal handover must be completed at the end of the project with all documentation provided. This include updated water system information, such as schematics and any records necessary to support ongoing Water Safety Management.

## Trust Employees

Under Section 7 of the HSAWA all employees have a legal duty to take reasonable care of their own health and safety and that of others who may be affected by their work activities. Employees are also required to cooperate with their employer to enable compliance with statutory health and safety obligations.

In addition, employees have a responsibility to inform their employer of any shortcomings in existing health and safety arrangements even if there is no immediate risk present. This enables the Trust to take appropriate remedial action in fulfilment of its obligations under the HSAWA and other applicable regulations.

## Monitoring Groups

### Water Safety Group

The Water Safety Group is a multidisciplinary group established to oversee the Water Safety Plan and Water Safety Policy and ensure the safe management of domestic water systems across the Trust.  The WSG brings together members with a range of competencies and levels of expertise to collectively manage water safety risks.

Membership includes individuals who.

- Have detailed knowledge of the Trust’s water systems and associated engineering infrastructure.

- Understand the factors that increase the risk of infection from waterborne pathogens

- Possess knowledge of the clinical vulnerabilities of the at-risk population within ELFT properties.

Through this multidisciplinary approach, the WSG provides coordinated governance, oversight and assurance on all matters relating to water safety within the Trust.

### Infection Prevention & Control Committee

All major Water Safety Policy and the Water Safety Plan must be approved at the Infection Prevention & Control Committee.  The Water Safety Group is accountable to the Infection Prevention & Control Committee and will provide regular reports, recommendations and escalation of risks to ensure appropriate oversight and assurance of water safety across the Trust.

### Health, Safety & Security Committee

All water related issues that may affect or impact the Health, Safety and Wellbeing of any person must be reported to the Health, Safety & Security Committee. This ensures appropriate oversight, escalation and action in line with the Trust’s Health and Safety governance framework.

# Training & Competence requirements

All staff and contractors involved in the management, operation and maintenance of the Trust’s water systems must be suitably trained to a standard that meets HTM 04-01.

Where applicable, appointed staff and contractors must undertake refresher training and competency reassessment every 3 (three) years or at an alternative interval were identified as necessary, through risk assessments and professional advice.

The Responsible Persons (Water) supported by the Authorising Engineer (Water) will ensure that appropriate training, guidance and technical support is available to key stakeholders involved in Water Safety Management across the Trust.

# Records and Drawings

It is essential that records of all works undertaken on the Water System are kept in a way that is readily available for inspection. This includes planned maintenance, monitoring tasks, schematics, emergency works, alterations and Operation and Maintenance manuals.

# Incident Reporting

Any incident involving water systems that may compromise safety must be reported immediately to the Estates Helpdesk so that it can be investigated and appropriate remedial action taken. Where an incident presents an immediate danger or significant risk, it must also be reported through the Trust’s In Phase incident reporting system.

# Alterations and Modifications

All alterations and modifications to the water supply and water systems must be approved by the Estates department prior to the commencement of works and where required, by the Water Safety Group.

This requirement includes but is not limited to the installation of.

- Water dispensers and water coolers

- Ice making machines

- Thermostatic Mixing Valves (TMVs)

- Showers and taps

- Point of use filters

- Specialist clinical equipment that requiring a mains water supply

- Emergency drench shows and eye wash stations

# Notification of closure

Departmental managers and / or matrons are required to notify the Estates department of any area within their area of responsibility that contains a water outlet and is to be closed or left unused for a period of one week or more. This includes but is not limited to ensuite facilities, kitchens and bathrooms.

# Policy Review

This policy will be reviewed by the Water Safety Group every 3 (three) years or earlier in the following circumstances.

- Following significant changes to relevant legislation and approved codes of practice

- When newly published material / evidence demonstrates a need for a change of existing working practices.

- Following a dangerous occurrence or “never event” or significant failure of any Water System that may have placed patients, staff, service users, volunteers or visitors at risk.

# Monitoring Compliance

| Minimum requirement to be monitored monitoring against standards set out in policy | Process for monitoring e.g. audit | Responsible individuals/ group/ committee | Frequency of monitoring/ audit/ reporting | Responsible individuals/ group/ committee for review of results and determining actions required |
| --- | --- | --- | --- | --- |
| Water Safety Policy | Review | Water Safety Group (WSG) | As per the Policy Review section of this Policy | Water Safety Group (WSG) / Infection Prevention & Control (IPC) Committee |
| Water Safety Plan (WSP) | Review | Water Safety Group (WSG) | The WSP is a ‘living document’ and should therefore be subject to an ongoing review | Water Safety Group (WSG) / Infection Prevention & Control (IPC) Committee |
| Key Performance Indicators for Water Maintenance, Compliance and Audit | Report | Water Safety Group (WSG) | Annually or as is required by the Risk Assessment | Infection Prevention & Control (IPC) Committee |

# References

- Health and Safety at Work etc. Act 1974

- The Management of Health and Safety at Work Regulations 1999

- The Control of Substances Hazardous to Health Regulations 2002

- Public Health (Infectious Diseases) Regulations 1988

- Water Supply (Water Quality) Regulations 2000

- Private Water Supplies Regulations 2009

- Food Safety Act 1990

- The Water Supply (Water Fittings) Regulations 1999

- The Reporting of Injuries, Diseases and Dangerous Occurrences Regulations 2013

- The Workplace (Health, Safety and Welfare) Regulations 1992

- British Standards Institute (2008) BS 7592:2022: Sampling for Legionella bacteria in water systems. Code of practice. London: British Standards Institution.

- British Standards Institute (2010) BS 8580-1:2019: Water quality. Risk assessments for Legionella control. Code of practice. London: British Standards Institution

- British Standards Institute (2010) BS 8580-2:2022: Risk assessments for Pseudomonas aeruginosa and other waterborne pathogens. Code of practice. London: British Standards Institution

- British Standards Institution (2012) BS EN 806-5:2012: Specifications for installations inside buildings conveying water for human consumption. Operation and maintenance. Parts 1-5. London: British Standards Institution.

- British Standards Institute (2015) BS 8558:2015: Guide to the design, installation, testing, and maintenance of services supplying water for domestic use within buildings and their curtilages. Complementary guidance to BS EN 806. London: British Standards Institution.

- British Standards Institution (2020) BS8680: 2020 Water quality — Water safety plans — Code of practice London: British Standards Institution.

- Policies and principles of healthcare engineering (HTM 00)

- Health Technical Memorandum 04-01: Safe water in healthcare premises. Part A: Design, installation, and commissioning

- Health Technical Memorandum 04-01: Safe water in healthcare premises. Part B: Operational management

- Health Technical Memorandum 04-01: Supplement Performance specification D 08: thermostatic mixing valves (healthcare premises)

- Health Technical Memorandum 01-05: Decontamination in primary care dental practices

- Health Technical Memorandum 07-04: Water management and water efficiency – best practice advice for the healthcare sector

- Health and Safety Executive (2017) The control of legionella and other infectious agents in spa-pool systems

- HSG 274 Part1: The control of legionella bacteria in evaporative cooling systems

- HSG 274 Part 2: The control of legionella bacteria in hot and cold water systems

- HSG 274 Part 3: The control of legionella bacteria in other risk systems

There are several other legal requirements that NHS Organisations, supporting professionals, contractors, and suppliers, must comply with. These are covered in the respective Health Building Notes (HBN’s), Health Technical Memoranda (HTM’s) and the NHS Premises Assurance Model (NHS PAM).

The Trust recognises its duties and legal responsibilities under these Acts and Regulations and has compiled a Water Safety Plan that sets out the planned approach for the Trust to achieve compliance with all relevant Health & Safety Legislation and Approved Codes of Practice (ACOP) within the Trust’s owned or maintained properties.

In addition, the WSP sets out the procedural framework for the safe management of Water Systems delivery across the organisation.

Appendix A: Policy Equalities Impact Assessment

This checklist must be completed for all new policies to understand any potential impact on equalities and to assure equality in service delivery and employment.

| Policy Name: | Water Safety Policy |
| --- | --- |
| Author: | Bevan Speariett |
| Role: | Assistant Director of Estates, Engineering and Infrastructure |
| Directorate: | Estates, Facilities & Capital Development |
| Date | 15/04/2026 |

- If any of the questions are answered ‘yes’, then the proposed policy is likely to be relevant to the Trust’s responsibilities under the equalities duties.  Please provide the ratifying Committee with information on why ‘yes’ answers were given and whether or not this is justifiable for clinical reasons.

- The author should consult with the Associate Director of People & Culture to develop a more detailed assessment of the Policy’s impact and, where appropriate, design monitoring and reporting systems if there is any uncertainty.

- A copy of the completed form must be submitted to the relevant committee when submitting the document for ratification.

- The ratifying committee will inform you if they perceive the impact to be sufficient that a more detailed assessment is required.

| Equalities Impact Assessment Question | Yes | No | Always give further information if you answer “YES” |
| --- | --- | --- | --- |
| - How does the attached policy/service fit into the Trusts overall aims? | Yes |  | The Policy has been created to meet the Trusts aims of providing and maintaining safe and health working conditions, equipment, and systems of work for all staff, patients and visitors, and to provide such resources, information, training and supervision as they need for this purpose. |
| - How will the policy/service be implemented? | Yes |  | The Policy will be displayed on the Trust’s Intranet page and will be communicated via the Trust’s Water Safety Group and Infection Prevention and Control Committee |
| - What outcomes are intended by implementing the policy/delivering the service? | Yes |  | Effective control of the water systems throughout Trusts premises to minimise the risk from waterborne pathogens |
| - How will the above outcomes be measured? | Yes |  | The outcomes will be measured via Audits, monitoring of compliance activities and via the ongoing Water Safety Group meetings |
| - Who are they key stakeholders in respect of this policy/service and how have they been involved? | Yes |  | The key stakeholders are the Estates Management Team (EMT), Water Safety Group (WSG) and the Infection Prevention and Control (IPC) Committee |
| - Does this policy/service impact on other policies or services? | Yes |  | Scalding Policy Water Safety Plan |
| - If YES is that impact understood? | Yes |  | No further comments |
| - Does this policy/service impact on other agencies? |  | No | No further comments |
| - If YES is that impact understood? | N / A |  | No further comments |
| - Is there any data on the policy or service that will help inform the equalities impact assessment? |  | No | No further comments |
| - Are there are information gaps, and how will they be addressed/what additional information is required? |  | No | No further comments |
| Equalities Impact Assessment Questions | Yes | No | Comment |
| - Does the policy or service development have an adverse impact on any particular group? |  | No | No further comments |
| - Could the way the policy is carried out have an adverse impact on equality of opportunity or good relations between different groups? |  | No | No further comments |
| - Where an adverse impact has been identified can changes be made to minimise it? |  | No | No further comments |
| - Is the policy directly or indirectly discriminatory, and can the latter be justified? |  | No | No further comments |
| - Is the policy intended to increase equality of opportunity by permitting Positive Action or Reasonable Adjustment? If so is this lawful? |  | No | No further comments |

## Appendix B: Policy Submission Form / Checklist

To be completed and attached to any policy or procedure submitted to the Trust Policy Group

| 1 | Details of policy |  |
| --- | --- | --- |
| 1.1 | Title of Policy: | Water Safety Policy |
| 1.3 | Author (job title) | Assistant Director of Estates, Engineering and Infrastructure |
| 1.4 | Lead / Sponsor Sub Committee | - Water Safety Group |
| 1.5 | Reason for Policy | To ensure effective control of the water systems throughout Trusts premises to minimise the risk from waterborne pathogens. |
| 1.6 | Who does policy affect? | - Water Safety Group - Estates Management Team - Infection Prevention and Control Committee - Health, Safety and Security Committee - Matrons / Lead Nurse - Ward or department managers - Clinical staff |
| 1.7 | Are national guidelines/codes of practice /best practice/ references incorporated and cited? | Yes |
| 1.8 | Has an Equality Impact Assessment been carried out? | Yes |
| 1.9 | Is this a revision of an existing policy? | Yes |
| 1.10 | If yes have you identified the changes in the document? | Yes |
| 1.11 | Is the policy in the correct format? | Yes |
| 2 | Information Collation |  |
| 2.1 | Where was Policy information obtained from? | Legislation, guidance and best practice as stated within this Policy |
| 3 | Policy Management |  |
| 3.1 | Is there a requirement for a new or revised management structure if the policy is implemented? | No |
| 3.2 | If YES attach a copy to this form | Not Applicable |
| 3.3 | If NO explain why | No changes to management structure |
| 4 | Consultation Process |  |
| 4.1 | Was there internal/external consultation? | Yes |
| 4.2 | List groups / Persons involved | - Water Safety Group - Estates Management Team - Infection Prevention and Control Committee - Health, Safety and Security Committee |
| 4.3 | Have internal/external comments been duly considered? | Yes |
| 4.4 | Date approved by relevant Sub-committee | - Water Safety Group (27th February 2026) - Estates Management Team – 17th April 2026 - Infection, Prevention and Control Committee – 11th June 2026 |
| 4.5 | Signature of Subcommittee chair | David Stevens – Director of Estates, Facilities & Capital Development Claire McKenna – Chief Nurse |
| 5 | Implementation |  |
| 5.1 | How and to whom will the policy be distributed? | The Policy will be displayed on the Trust’s Intranet page and will be communicated via the Trust’s Water Safety Group and Infection Control and Prevention Committee |
| 5.2 | If there are implementation requirements such as training, please detail? | ELFT training will be identified on the Estates training matrix Hard FM Suppliers will conduct their own training to ensure competency |
| 5.3 | What is the cost of implementation and how will this be funded? | No significant costs apart from ongoing training which will be funded through the Estate budget |
| 6 | Monitoring |  |
| 6.1 | List the key performance indicators e.g. core standards | - Audits undertaken by Authorising Engineer (Water) - Key Performance Indicators listed within Hard FM Supplier’s contractors |
| 6.2 | How will this be monitored and/or audited? | The outcomes will be measured via Audits, monitoring of compliance activities and via the Water Safety Group meetings |
| 6.3 | Frequency of monitoring/audit | - Policy review every 3 (three) years - Water Safety Group (WSG) every 3 (three) months - Water Risk Assessment completed every 2 (two years) |

Completed by

Date policy approved by the Sponsor Committee:

- 27th February 2026 – Water Safety Group

- 17th April 2026 (Estates Management Team)

- 11th June 2026 (Infection Prevention and Control Committee)

Date policy approved by the Ratifying Committee:  22nd July 2026